**Plan Review & Routing Comment Form**

|  |  |
| --- | --- |
| **Project Information** | |
| Project: | Rieke Park Entrance |
| Revision: | Original |
| Type: | Project Public – Improvement Location Permit & Sign Permit |
| Logos ID: | PROJ-PUBLIC - 2017-00000003 |
| Due Date: | **November 15, 2017** |

|  |  |  |  |
| --- | --- | --- | --- |
| **Reviewer Information** | | |  |
| Name: | Randy Harvey |  |
| Dept.: | Water |  |
| Phone: | 260-925-5711 |  |

|  |
| --- |
| **Comments** *(add more numbers and pages, if necessary)* |

1. Take caution if excavating 4-5’ deep. There is a 16” water main in the area on that side of the road.

|  |  |  |  |
| --- | --- | --- | --- |
| **Recommended Action** | | |  |
|  |  | Approve | |
|  | X | Approve with Comments | |
|  |  | Revise and Resubmit | |
|  |  | Other: | |

*BPD Use Only*

Rec’d By: MAL

Date: 11.06.2017