Plan Review & Routing Comment Form

| Project Information |  |
| --- | --- |
| Project: | Fire Dept. Bldg. |
| Revision: | Original |
| Type: | Project Public |
| Logos ID: | PROJ-PUBLIC – 2016-00000002 |
| Due Date: | November 9, 2016 |

| Reviewer Information |  |  |  |
| --- | --- | --- | --- |
| Name: | Randy Harvey |  |
| Dept.: | Water |  |
| Phone: | 260-925-5711 |  |

Comments (add more numbers and pages, if necessary)

- See Water Dept to discuss water tap and metering details.

- We highly recommend that 200 p.s.i. CTS (Copper Tube Size) plastic pipe is used.

| Recommended Action |  |  |  |
| --- | --- | --- | --- |
|  |  | Approve |  |
|  | X | Approve with Comments |  |
|  |  | Revise and Resubmit |  |
|  |  | Other: |  |

BPD Use Only

Rec’d By:	MAL

Date:	 11.02.2016