Plan Review & Routing Comment Form

| Project Information |  |
| --- | --- |
| Project: | Rieke Park Entrance |
| Revision: | Original |
| Type: | Project Public – Improvement Location Permit & Sign Permit |
| Logos ID: | PROJ-PUBLIC - 2017-00000003 |
| Due Date: | November 15, 2017 |

| Reviewer Information |  |  |  |
| --- | --- | --- | --- |
| Name: | Randy Harvey |  |
| Dept.: | Water |  |
| Phone: | 260-925-5711 |  |

Comments (add more numbers and pages, if necessary)

- Take caution if excavating 4-5’ deep. There is a 16” water main in the area on that side of the road.

| Recommended Action |  |  |  |
| --- | --- | --- | --- |
|  |  | Approve |  |
|  | X | Approve with Comments |  |
|  |  | Revise and Resubmit |  |
|  |  | Other: |  |

BPD Use Only

Rec’d By:	 MAL

Date:	 11.06.2017