Plan Review & Routing Comment Form

| Project Information |  |
| --- | --- |
| Project: | Auburn Community Commons - Development Plan |
| Revision: | Preliminary |
| Type: | Development Plan |
| Logos ID: | PROJ-PUBLIC - 2020-00000002 |
| Due Date: | Jan 15, 2020 |

| Reviewer Information |  |  |  |
| --- | --- | --- | --- |
| Name: | Amy |  |
| Dept.: | Planning |  |
| Phone: | 925-6449 |  |

Comments (add more numbers and pages, if necessary)

Zoning / Compliance Related

- This project falls under the definition of “Park, Public” and is permitted in this district.

- Property is zoned Downtown Commercial and is within the Wellhead Protection Overlay.

- The County owns the property.  How will this be handled?

- Development Plan approval is required via the Plan Commission.  When this project is routed for Plan Commission, we will also route it to DARC (Downtown Auburn Review Committee).

- Local Building Permit and Indiana Construction Design Release is required.  Building Construction Plans will need routed and reviewed in addition to the Development Plan.  (These routings may be concurrent.)

- Provide Structure Height at the highest point.

- Utility and drainage plans will be required.

- Will there be a dumpster?

- We will need more details on any exterior lighting (light specs/details, light locations, photometric plan); signs; and solar components.

Opinion/Design Preferences

- Security concerns with opened all day, every day

- We’d strongly encourage incorporating some sort of storage area within the maintenance space.  There always seems to be a need for secured storage areas in downtown.

- Please consider alternatives to the roof line to allow for natural light and air:

- Leaving the roof off the open area and designing it to be an open air plaza.  It could still have the columns and trusses.

- Similar to TQS, one portion of the roof being taller than the others with some open air vents (see image)

| Recommended Action |  |  |  |
| --- | --- | --- | --- |
|  |  | Approve |  |
|  |  | Approve with Comments |  |
|  |  | Revise and Resubmit |  |
|  | XX | Other: No significant compliance issues |  |

BPD Use Only

Rec’d By:	 ___________

Date:	 ___________