Plan Review & Routing Comment Form

| Project Information |  |
| --- | --- |
| Project: | Auburn Community Commons - Development Plan |
| Revision: | Preliminary |
| Type: | Development Plan |
| Logos ID: | PROJ-PUBLIC - 2020-00000002 |
| Due Date: | Jan 15, 2020 |

| Reviewer Information |  |  |  |
| --- | --- | --- | --- |
| Name: | Eric Ditmars |  |
| Dept.: | Auburn Parks and Recreation |  |
| Phone: | 260-925-2997 |  |

Comments (add more numbers and pages, if necessary)

- The natural gas meters may need a separation barrier to reduce the possibility of intentional or unintentional damage.

- I do agree with BPD comments, the chase way is very small to serve as a functioning work area once you add all of the exposed piping and necessary supports for wall mounted fixtures.

| Recommended Action |  |  |  |
| --- | --- | --- | --- |
|  |  | Approve |  |
|  | X | Approve with Comments |  |
|  |  | Revise and Resubmit |  |
|  |  | Other: |  |

BPD Use Only

Rec’d By:	 ___________

Date:	 ___________