Plan Review & Routing Comment Form

| Project Information |  |
| --- | --- |
| Project: | Auburn Community Commons - Development Plan |
| Revision: | Preliminary |
| Type: | Development Plan |
| Logos ID: | PROJ-PUBLIC - 2020-00000002 |
| Due Date: | Jan 15, 2020 |

| Reviewer Information |  |  |  |
| --- | --- | --- | --- |
| Name: | Randy Harvey |  |
| Dept.: | Water |  |
| Phone: | 260-925-5711 |  |

Comments (add more numbers and pages, if necessary)

- GIS records indicate this water service has been abandoned.  Regardless, a new water service is highly recommended as the material type has likely reached or near the end of its useful life or is no longer composed of an acceptable material for potable water.

| Recommended Action |  |  |  |
| --- | --- | --- | --- |
|  |  | Approve |  |
|  | X | Approve with Comments |  |
|  |  | Revise and Resubmit |  |
|  |  | Other: |  |

BPD Use Only

Rec’d By:	 __JDJ_________

Date:	 _1/9/2020_____