CHAPTER 151: BUILDING CODE

General Provisions

151.01  Short title

151.02  Purpose and scope

151.03  Authority

151.04  Construction standards

151.05  Other regulations and changes

151.06  Definitions

Administration and Enforcement

151.10  Permits required and exempt

151.11  Pre-application plan review

151.12  Permit application, review and approval

151.13  [Reserved]

151.14  Compliance with standards

151.15  Inspections and deficiencies

151.16  Right of entry

151.17  Approval to occupy

151.18  Stop work order

151.19  Violations

151.20  Right of appeal

151.21  Remedies

151.99  Penalty

GENERAL PROVISIONS

151.01  SHORT TITLE

This chapter and all ordinances supplemental or amendatory thereto shall be known as the Building Code of the City of Auburn, Indiana.

151.02  PURPOSE AND SCOPE

A) 	Purpose

The purpose of this chapter is to establish minimum standards for the design, construction, installation and inspection of structures and appurtenances thereto, within the jurisdiction of the city, in order to protect public health, safety and welfare.

B) 	Scope

The regulations in this chapter apply to any work for which a site improvement permit is authorized to be issued pursuant to the requirements in this chapter.

151.03  AUTHORITY

The Administrator of the Department of Building, Planning and Development is authorized and directed to administer and enforce the provisions of this chapter.

151.04  CONSTRUCTION STANDARDS

The following regulations of the Indiana Fire Prevention and Building Safety Commission as set out in Title 675 of the Indiana Administrative Code are adopted as the standards for construction within the jurisdiction of the city:

A)	675 IAC 12 - Administration.

B)	675 IAC 13 - Building Codes.

C)	675 IAC 14 - One and Two Family Dwelling Code.

D)	675 IAC 16 - Plumbing Code.

E)	675 IAC 17 - Electrical Codes.

F)	675 IAC 18 - Mechanical Code.

G)	675 IAC 19 - Energy Conservation Codes.

H)	675 IAC 20 - Swimming Pool Code.

I)	675 IAC 22 - Fire Prevention Codes.

151.05  OTHER REGULATIONS AND CHANGES

A)	Other regulations

These regulations are established in addition to the requirements of any other local, state or federal regulation pertaining to work covered by this chapter.

B) 	Changes

All references in this chapter to rules, regulations and codes shall be interpreted to mean the most recently adopted version thereof, including any supplements, amendments or replacements.

151.06  DEFINITIONS

The following definitions shall apply throughout this chapter:

ACCESSORY STRUCTURE

An attached or detached structure housing a use that is incidental and subordinate to the principal use with which the structure is associated, and which is either in the same ownership as the principal use or is maintained and operated substantially for the benefit or convenience of the owners, occupants, employees, customers or visitors of the principal use.  Examples of accessory structures include but are not limited to garages, carports, swimming pools, sheds, fences, signs, decks, patios, stairs and porches.

ADMINISTRATOR

The Administrator of the Department of Building, Planning and Development of the city, or the Administrator's designated representative.

BALCONY  See "EXTERIOR ABOVE-GRADE FLOOR SYSTEM."

BUILDING

A roofed structure for the support, shelter, enclosure or protection of persons, animals or moveable property of any kind.

BUILDING PERMIT  See "SITE IMPROVEMENT PERMIT."

CARPORT

An accessory structure intended to be used only for the sheltering of vehicles, and consisting of not more than eight vertical posts supporting a roof, each of which measures not more than twelve inches on a side, and which is open on all sides of the carport by not less than 50% of the vertical distance between the ground and the peak of the roof of the carport.

CITY

The employees, commissions and agents of the City of Auburn, Indiana.

CITY BUILDING INSPECTOR

The person or persons appointed by the city to conduct inspections as necessary under the direction of the Administrator, in order to ensure compliance with the provisions of this chapter.  The term includes "Building Inspector" and "Inspector."

CLASS 1 STRUCTURE

Any structure defined as a "CLASS 1 STRUCTURE " pursuant to I.C. 22-12-1-4.

CLASS 2 STRUCTURE

Any structure defined as a "CLASS 2 STRUCTURE" pursuant to I.C. 22-12-1-5.  The term includes "One-Family Dwelling," "Single-Family Dwelling," "Two-Family Dwelling" and "Duplex."

CONSTRUCTION DESIGN RELEASE

Authorization of the State of Indiana issued pursuant to 675 IAC 12-6 to proceed with site improvements on a Class 1 structure.  The term includes "Release."

DECK  See "EXTERIOR ABOVE-GRADE FLOOR SYSTEM."

DEPARTMENT

The Department of Building, Planning and Development of the City of Auburn.

DESIGN RELEASE TO MANUFACTURE

Authorization of the State of Indiana issued pursuant to 675 IAC 15S-1 to proceed with the manufacture of an industrialized building system or mobile structure (types of "Manufactured Structures" as defined herein).  The term includes "Release."

DETACHED BUILDING

A building which has no wall or roof in common with another building.

DWELLING

Any building which contains one or more dwelling units that are used, intended or designed to be built, used, rented, leased, let or hired out to be occupied, or that are occupied, for living purposes.

DWELLING UNIT

A single unit providing complete independent living facilities for one or more persons, including permanent provisions for living, sleeping, eating, cooking and sanitation.

ELECTRIC SERVICE

The connection of city electric service to a structure, including but not limited to wires, meters, conduit and related devices that extend from the city's electric distribution lines to the service disconnect on the structure to be served.

EXTERIOR ABOVE-GRADE FLOOR SYSTEM

An exterior floor system with a finished floor elevation that is above grade, open to the air on at least one side, and supported on at least one side by one or more of the following support structures having a permanent foundation: an adjoining structure, posts, piers, perimeter foundation, or other independent supports.  The term includes "Balcony," "Deck," "Porch" and "Stairs, Exterior."

EXTERIOR AT-GRADE FLOOR SYSTEM

An exterior slab floor system made of concrete, asphalt, brick, stone or other hard surface material supported directly by the ground beneath the slab, where the finished floor elevation is at-grade, and that is open to the air on at least one side.  The term includes "Landing," "Patio," "Slab" and "Stoop."

EXTERIOR STAIRS  See "EXTERIOR ABOVE-GRADE FLOOR SYSTEM."

FOUNDATION PERMIT

A limited-purpose site improvement permit issued prior to a full site improvement permit, approving only the construction of the foundation for a structure, but no improvements above the foundation.

JURISDICTION

Those lands within the incorporated city, excluding properly exempted by this chapter.

LANDING  See "EXTERIOR AT-GRADE FLOOR SYSTEM."

MANUFACTURED STRUCTURE

One of the following structures, as defined at 675 IAC 15-1-2:

1)	An industrialized building system or mobile structure displaying the seal of acceptance of the State of Indiana; or

2)	A manufactured home displaying the seal of acceptance of the U.S. Department of Housing and Urban Development (H.U.D.).

The term does not include "Recreational Vehicle."

PATIO See "EXTERIOR AT-GRADE FLOOR SYSTEM."

PERMANENT FOUNDATION

A structural support system for a building which:

(1)	Transfers loads imposed by the building to the earth;

(2)	Has a lower surface placed below the frost line as defined and shown at 675 IAC 14 "One and Two Family Dwelling Code," Figure 310.2a, North Indiana; and

(3)	Secures the building to the foundation such that the building becomes part of and is taxed as real property.

PERMANENT SWIMMING POOL

Any swimming pool that is constructed in the ground or in a building in such a manner that the pool cannot be readily disassembled for storage or transport.

PERMIT  See "SITE IMPROVEMENT PERMIT."

PERSON

An individual, agency, partnership, corporation, group, organization, governmental entity, trust; estate, or any other legal or commercial entity.

PORCH  See "EXTERIOR ABOVE-GRADE FLOOR SYSTEM."

RECREATIONAL VEHICLE

A vehicle or portable structure with or without motive power, designed to be used for temporary sleeping and human habitation, which is either:

1)	A vehicle licensed for travel on roads and identified by the manufacturer as a travel trailer, recreational vehicle or motor home; or

2)	A structure designed to be mounted on or towed behind a vehicle for travel on roads.

The term includes "RV."

RELEASE  See "CONSTRUCTION DESIGN RELEASE" and "DESIGN RELEASE TO MANUFACTURE."

SEAL OF ACCEPTANCE

A seal of certification which has been affixed to a structure, and which was:

1)	Issued by the office of the State Building Commissioner pursuant to 675 IAC 15-1, certifying that the construction of an industrialized building system or mobile structure is in compliance with the design release to manufacture; or

2)	Issued by the U. S. Department of Housing and Urban Development (H.U.D.), certifying that the construction of a manufactured home is in compliance with the National Manufactured Housing Construction and Safety Standards Act of 1974.

SITE IMPROVEMENT PERMIT

A permit issued by the department authorizing work on improved or unimproved property.  The term includes "Permit" and "Building Permit."

SLAB  See "EXTERIOR AT-GRADE FLOOR SYSTEM."

STOOP  See "EXTERIOR AT-GRADE FLOOR SYSTEM."

STRUCTURAL CHANGE

Any change to the horizontal area, height, length or width of a structure, or change to the depth of a structure below the surface of the ground, or change in the location or capacity of any load-bearing member or component of a structure.

STRUCTURE

Anything constructed, installed or erected which requires location on the ground or attachment on something having location on the ground, including but not limited to buildings, walls, fences, towers, swimming pools and signs.

TEMPORARY FOUNDATION

A structural support system for a building which:

1)	Transfers loads imposed by the building to the earth;

2)	Has a lower surface placed above the frost line as defined and shown at 675 IAC 14 "One and Two Family Dwelling Code," Figure 310.2a, North Indiana; and

3)	Secures the building to the foundation such that the building is not part of and not taxed as real property.

WORK

Changes made to or on improved or unimproved property, including but not limited to construction, alteration, repair or installation activities, and related grading, excavating and clearing activities.

151.10 PERMITS REQUIRED AND EXEMPT

A)	Permit required

Subject to the exemptions in this section and any other terms and conditions in this chapter, a site improvement permit shall be obtained by the owner of property before beginning work on any of the following:

ADMINISTRATION AND ENFORCEMENT

1)	Class 1 and Class 2 structures, including accessory structures and appurtenances thereto.

2)	Buildings used for agricultural purposes or for retail sales of farm produce, including accessory structures and appurtenances thereto.

3)	All other structures and improvements specifically identified in 151.13 of this chapter, entitled "Fees."

4)	Installation of a manufactured structure on any site, whether the land is rented, leased or owned.  Where the manufactured structure is used as or is to be used as a one or two-family dwelling, the standards and regulations applicable to manufactured homes and mobile homes located on privately owned (non-rental) lots under 675 IAC 14 "Indiana One and Two Family Dwelling Code," and the regulations in this chapter, shall apply.

B)	Permit exempt

The following improvements or work are exempt from the requirement to obtain a site improvement permit or to be inspected under the terms of this chapter:

1)	Any work on any project where the total construction cost of the project will be less than $500; however, a permit shall be required for work that involves structural change, installation of a permanent foundation, or connection of temporary or permanent city electric service.

2)	Any work, regardless of cost, performed by or on behalf of the federal government or the state on property that they own (not leased property); however, a permit shall be required for connection of temporary or permanent city electric service, and for any work performed by or on behalf of any political subdivision of the state.

3)	Any work, regardless of cost, in the right-of-way of a railroad or the right-of-way of a street owned by a unit of government; however, a permit shall be required for connection of temporary or permanent city electric service.

4) 	Construction of any part of a manufactured structure that is regulated under I.C. 22-15-4 or 42 USC 5401.

5)	Installation of a manufactured structure or a carport, including foundations and any steps to exterior entrance doors of the manufactured structure, but not any other exterior above-grade floor system, regardless of cost, when the manufactured structure or carport is to be installed in an approved or legally non-conforming manufactured housing/mobile home park, and where the installation satisfies all of the following conditions:

a)	The land where the manufactured structure is to be installed lies within the manufactured housing/mobile home park (MH) zoning district; and

b)	The structure will be a manufactured structure as defined herein that qualifies as and will be used only as a single dwelling unit; and

c)	The structure is to be installed on a temporary foundation; and

d)	The lot on which the structure is to be located will be rented to the owners or lessees of the residential manufactured structure that is to be placed on the lot; however, a permit shall be required for connection of temporary or permanent city electric service, installation or construction of any other structures regulated by this chapter, and modifications to the manufactured structure.  The installation or construction of any other structure, and modification to the manufactured structure, shall comply with the requirements of 675 IAC 14 "Indiana One and Two Family Dwelling Code" that apply to manufactured homes and mobile homes located on privately owned (non-rental) lots, and shall comply with the regulations in this chapter, regardless of whether or not it is located on a lot that is or will be rented or owned by the owner or lessee of the structure.

6)	Any of the following work, regardless of cost, that is not subject to the requirements of a construction design release, or does not involve structural change or changes to electrical or plumbing systems:

a)	Interior and exterior finish work, including but not limited to painting, and installation, repair or replacement of carpeting, flooring, cabinetry, roof decking, shingles, siding, gutters, downspouts, insulation, windows and doors.

b)	Installation of fences, non-load-bearing exterior wall systems, exterior at-grade floor systems (landing, patio, slab, stoop), sidewalks, driveways and vehicle parking areas.

c)	Installation, replacement or repair of mechanical systems, including but not limited to heating systems, HVAC systems, furnaces, water heaters, water softeners, toilets, sinks and showers.

C)	Term of permit

All site improvement permits shall be valid for a period of one year from the date of issue.

D)	Permit renewal

The Administrator may renew a permit one time for a term that is not longer than the term of the original permit, upon a showing by the property owner that the work has not been completed in the time allowed due to conditions not under the control of the property owner, including but not limited to seasonal or other weather conditions, lack of building materials, or shortage of labor. The renewal permit shall be issued only for work that was included in the original permit, and shall be subject to a permit renewal fee.

151.11  PRE-APPLICATION PLAN REVIEW

Prior to filing an application for a permit, the property owner or the owner's authorized representative shall submit the following documents and plans for review:

A)	Class 1 structures

1)	Site plan;

2)	Application for the construction design release;

3)	Construction design release;

4)	Construction plans as submitted to the state for the construction design release; and

5)	For manufactured structures, the design release to manufacture if the structure is an industrialized building system or a mobile structure, a copy of the seal of acceptance, and proof of the occupancy classification.

B)	Class 2 and all other structures

1)	Site plan;

2)	Material specifications;

3)	Construction plans; and

4)	For manufactured structures, the design release to manufacture if the structure is an industrialized building system or a mobile structure, a copy of the seal of acceptance, and proof of the occupancy classification.

C)	Review

The department will review the submitted information for conformance with the standards adopted in this chapter, the conditions if any in a design release, and any special terms or conditions attached to the project.  Depending on the scope of the project and class of structure, the review process may take from one day to three weeks to complete.  Review comments will be provided to the owner in person, or by facsimile or mail, as soon as reasonably possible following review, together with a determination that the plans and/or other information must be amended and re-submitted for review, or a recommendation to proceed with application for a permit.

151.12  PERMIT APPLICATION, REVIEW AND APPROVAL

A)	Owner/applicant

The property owner or the owner's authorized representative shall be responsible for completing and submitting the application for a site improvement permit.

B)	Application form

The application for a permit shall be on forms furnished by the department.  One application shall be submitted for each individual address where work is to be done; however, one application may be submitted for each multi-family residential building in which all work is to be accomplished in the same manner in each dwelling unit in the building, and is to be accomplished by the same contractors and sub-contractors.  All information required on the application form shall be provided by the applicant.

C)	Attachments

A complete set of the documents that were required for the pre-application review, including required amendments, and any additional information required by the Administrator based on the circumstances of a particular project shall be attached to each application.

D)	Review

The Administrator shall review each application for completeness, for compliance with the terms of this chapter, for compliance with any conditions attached to a construction design release or design release to manufacture, and for compliance with any special terms or conditions attached to a project.

E)	Approval or rejection

The application will be approved and a permit issued, or the application will be rejected and returned to the owner with the reasons for rejection, within 10 days following the date of receipt of the completed application and all required attachments by the department.  If rejected and returned, it shall be the responsibility of the owner to address the cause for rejection and submit a revised application for further review.

F)	Plans, materials and methods

The city shall not by its actions approve or certify the design, construction plans, materials proposed to be used, or the proposed methods of construction.

151.13  [Reserved]

151.14  COMPLIANCE WITH STANDARDS

It is the responsibility of the property owner to ensure that construction plans for a project comply with all regulations.  The property owner shall also be responsible for ensuring that the work is completed in accordance with the requirements in this chapter, whether or not a permit is required or issued, and in accordance with all other permits, regulations, guidelines and plans governing work on the project.  The property owner shall ensure that all work is performed in a professional manner, and according to the standards adopted herein, the product-specific installation requirements, and the accepted standards and practices of the various trades.

151.15  INSPECTIONS AND DEFICIENCIES

A)	Inspection requests

The owner of property subject to a site improvement permit is responsible for requesting all inspections of work.  Twenty-four hour notice is requested.

B)	Unscheduled inspections

A city building inspector will periodically inspect work for which a site improvement permit has been issued to determine compliance with the standards adopted by reference in this chapter, the plans, and the terms of a construction design release or design release to manufacture.

C)	Uninspected work

Work which cannot be inspected when an inspection is requested because the work is incomplete, covered, inaccessible or otherwise not ready for inspection, is subject to a re-inspection fee.

D)	Non-compliant work

Whenever a city building inspector determines that any work is not in compliance with the terms of the site improvement permit, a construction design release, a design release to manufacture, or the standards adopted by reference in this chapter, the inspector will attempt to notify the property owner in person about the deficiency.  Where in-person communication is not possible or where a deficiency is not corrected within the allotted time as determined by the inspector, the inspector shall notify the owner about the deficiency in writing.  Cited deficiencies shall be corrected by the owner and inspected not later than the required completion date of the work authorized by the permit, or within 90 days following written notice, whichever is longer.  For changes to the design of a project that is subject to a construction design release or design release to manufacture, the owner shall be responsible for submitting an application for addenda or revision to the release pursuant to state law, and the amended release shall be provided to the department for use in the final inspection.

151.16  RIGHT OF ENTRY

Upon presentation of proper credentials, the Administrator or any city building inspector may enter at reasonable times any building, structure, or premises within the city's jurisdiction to perform any duty required by this chapter.

151.17  APPROVAL TO OCCUPY

A)	Certificate of occupancy

1)	Where work on a structure is subject to the requirement to obtain a site improvement permit, or where a permit has been issued, a certificate of occupancy shall be required prior to occupancy or use of the structure for any of the following purposes:

a)	A new building;

b)	A new addition to a building;

c)	Repair or refurbishment that includes structural change to any part of a building that was damaged as the result of accidental or natural disaster, including but not limited to fire, water, flood, tornado or wind damage;

d)	A relocated building; or

e)	A permanent swimming pool.

2)	The Administrator shall approve all certificates of occupancy only after final inspection and approval of the work by a city building inspector.  The Administrator's approval shall be issued within three working days following the date of the inspector's final approval.

B)	Conditional certificate of occupancy

1)	A conditional certificate of occupancy may be issued for any of the structures that are eligible for a certificate of occupancy as listed above, provided that all of the following conditions can be satisfied:

a)	A city building inspector has determined that a certificate of occupancy cannot be issued in the reasonably near future for reasons not under the control of the property owner, including but not limited to seasonal or other weather conditions, lack of building materials, or shortage of labor;

b)	The structure is otherwise determined by the Administrator, on the advice of the inspector, to be habitable;

c)	All of the following components and systems have been installed, and have been inspected and approved by the inspector: smoke alarms, fire safety equipment, electrical service and premise wiring, potable water service, and sanitary sewer service; and

d)	The inspector shall have established the length of time for which the conditional certificate of occupancy is to be valid based on the inspector's estimated date of completion and final inspection of the outstanding work, but in no event longer than 180 days.

2)	A conditional certificate of occupancy may be renewed one time, in the same manner and for the same term as the initial conditional certificate was issued.

C)	Deficiencies

Hidden defects and deficiencies are not approved by issuance of a certificate or a conditional certificate of occupancy.

151.18  STOP WORK ORDER

Whenever it is determined that any work at a site is not in compliance with the provisions of this chapter, the Administrator may order the work stopped by notice posted at the building site, and all persons performing any work at the site shall forthwith stop until authorized by the Administrator to proceed with the work.

151.19  VIOLATIONS

It shall be unlawful for any person whether as owner, lessee, sub-lessee, occupant, user or contractor of or on property subject to this chapter, to erect, construct, enlarge, alter, repair, improve, remove, convert, demolish, equip, use, occupy, or maintain any building or structure, except as provided herein, in the city's jurisdiction, or to cause or permit the same to be done, contrary to or in violation of the provisions of this chapter.

151.20  RIGHT OF APPEAL

A)	Appeals

Any appeal of a decision of the Administrator or the terms of this chapter shall be made in writing to the city's Board of Zoning Appeals, pursuant to the provisions of and in the manner prescribed in Chapter 150 "Zoning Code" of this code, and the rules and regulations governing the operation of the Board of Zoning Appeals.

B)	Review of appeals

Pursuant to I.C. 22-13-2-7, any variance from any of the terms of this chapter or any of the provisions of I.C. 22-13-2-7, which variance has been granted by the city or its agents, commissions or boards, or by any other person, shall be subject to mandatory administrative review by the Fire Prevention and Building Safety Commission of the state, and the variance shall not be effective until approved by said Fire Prevention and Building Safety Commission.

151.21  REMEDIES

The city shall bring actions in the superior or circuit courts of DeKalb County for mandatory and injunctive relief in the enforcement of and to secure compliance with any order or orders made by the Administrator.  Any such action for mandatory or injunctive relief may be joined with an action to recover the penalties provided for in this chapter.

151.99  PENALTY

If any person shall violate any of the provisions of this chapter, or shall perform any act prohibited herein, or shall fail to perform any duty lawfully enjoined, within the time prescribed by the Administrator, or shall fail, neglect, or refuse to obey any lawful order given by the Administrator in connection with the provisions of this chapter, for each such violation, failure, or refusal, such person shall be fined $25.  Each day of such unlawful activity shall constitute a separate offense.