**Plan Review & Routing Comment Form**

|  |
| --- |
| **Project Information** |
| Project: | Auburn Community Commons - Development Plan |
| Revision: | Preliminary |
| Type: | Development Plan |
| Logos ID: | PROJ-PUBLIC - 2020-00000002 |
| Due Date: | **Jan 15, 2020** |

|  |  |
| --- | --- |
| **Reviewer Information** |  |
| Name: | Eric Ditmars |  |
| Dept.: | Auburn Parks and Recreation |  |
| Phone: | 260-925-2997 |  |

|  |
| --- |
| **Comments** *(add more numbers and pages, if necessary)* |

1. The natural gas meters may need a separation barrier to reduce the possibility of intentional or unintentional damage.
2. I do agree with BPD comments, the chase way is very small to serve as a functioning work area once you add all of the exposed piping and necessary supports for wall mounted fixtures.

|  |  |
| --- | --- |
| **Recommended Action** |  |
|  |  | Approve |
|  | X | Approve with Comments |
|  |  | Revise and Resubmit |
|  |  | Other:  |

*BPD Use Only*

Rec’d By: \_\_\_\_\_\_\_\_\_\_\_

Date: \_\_\_\_\_\_\_\_\_\_\_